## Table 1
BID SCHEDULE
WATER LINES
No. | Item Description | Estimated Quantity | Unit | Bid Unit Price | Bid Price
WATER LINE A – I‐26 AND SC 6 INTERCHANGE
1 | 8‐Inch C900 DR 18 PVC | 1810 | LF | $ | $
2 | 8‐Inch 350 PSI RJ DIP | 620 | LF | $ | $
3 | 6‐Inch DIP | 10 | LF | $ | $
4 | 8" x 8" Tapping Tee w/ Valve & Box | 2 | EA | $ | $
5 | 8‐Inch Gate Valve with Box | 2 | EA | $ | $
6 | 8‐Inch Inserta Gate Valve with Box | 1 | EA | $ | $
7 | 6‐Inch Gate Valve with Box | 2 | EA | $ | $
8 | 8" x 6" Tee | 2 | EA | $ | $
9 | 8‐Inch 45° bend | 9 | EA | $ | $
10 | 8‐Inch 22.5° bend | 2 | EA | $ | $
11 | 8‐Inch 11.25° bend | 2 | EA | $ | $
12 | Cut and cap existing 8‐inch pipe | 2 | EA | $ | $
13 | Fire Hydrant | 2 | EA | $ | $
14 | Disinfection | 1 | LS | $ | $
15 | Pressure Testing | 1 | LS | $ | $
16 | Grout Existing Pipes | 30 | CY | $ | $
17 | Remove Valves, Hydrants, Boxes, etc. | 1 | LS | $ | $
18 | Bore and Jack 16‐inch Steel Casing | 430 | LF | $ | $
19 | Bore and Jack 24‐inch Steel Casing | 190 | LF | $ | $
No. | Item Description | Estimated Quantity | Unit | Bid Unit Price | Bid Price
WATER LINE B – I‐26 AND VALLEY RIDGE ROAD INTERCHANGE
1 | 2‐Inch SDR 21 PVC | 465 | LF | $ | $
2 | Cut‐in 2‐inch sleeve | 2 | EA | $ | $
3 | 2‐Inch 90° bend | 2 | EA | $ | $
4 | 2‐Inch 45° bend | 2 | EA | $ | $
5 | 2‐Inch gate valve with box | 2 | EA | $ | $
6 | 4‐Inch steel casing by bore and jack | 30 | LF | $ | $
7 | Disinfection | 1 | LS | $ | $
8 | Pressure Testing | 1 | LS | $ | $
WATER LINE C – I‐26 AND US 21 INTERCHANGE
1 | 6‐Inch C900 DR18 PVC | 130 | LF | $ | $
2 | 6‐Inch DIP restrained joint | 40 | LF | $ | $
3 | 6‐Inch gate valve with box | 2 | EA | $ | $
4 | 6"x 6" Tee | 1 | EA | $ | $
5 | 6‐Inch 90° bend | 1 | EA | $ | $
6 | 6‐Inch 45° bend | 1 | EA | $ | $
7 | 6‐Inch sleeve | 1 | EA | $ | $
8 | 12‐Inch steel casing by open cut | 40 | LF | $ | $
9 | Post Hydrant | 1 | EA | $ | $
10 | Disinfection | 1 | LS | $ | $
11 | Pressure Testing | 1 | LS | $ | $
No. | Item Description | Estimated Quantity | Unit | Bid Unit Price | Bid Price
12 | Cut‐ins | 2 | EA | $ | $
13 | Long Service | 1 | EA | $ | $
14 | Remove Valves, Hydrants, Boxes, etc. | 1 | LS | $ | $
TOTAL BID – WATER LINES $
Total amount for water lines written in words